|  |
| --- |
| **UHW Main theatre equipment**  |
| Equipment type  | Quantity  | Quantity specifics | Ident Number |
| Cmac reusable system | 6 | 3 – old cables3 - new cables  | Nr 1-6 |
| Cmac single use systems  | 4 |  2 –new ones2 - ex demo Storz loan |  Not labeledEx Demo 1&2 |
| Cmac reusable Dblades  | 9 | New 6 Old 2 , 1 missing Old Mac4 x 1  |  |
| Storz FIVE Scopes  | 3  |  |  |
| Olympus fibreoptic scopes  | 5 |  All 4.5 mm3 x3.5 mm in UHL incl stack |  |
| Optiflow  | 4 | 1 missing | Nr 1-3 |
| Ambu Scope | 2 | 1 complete 1 charging cable missing  |   Nr 1-3 |
| Oxford pillows  | 3 |   |  |
| US machines  | 6 | 1 Sonosite Xporte3 new S2 Sonosite2 old ones – M/turbo | Nr 1-6 |
| Lidco | 8 | Lidco Nr 1 in Spire | Nr 1-8 |
| Doppler | 4 | Doppler Nr 3 in Spire |  Nr 1-4 |
| Transport monitors &C02 | 5 |  Nr 1-2 on Merit trolley Nr 3 in Andrea’s room Nr 4 missing – SSSU used Nr 5 A&E loan  | Nr1-5 |
| Oxylog  | 6 | Oxylog 1 Merit Oxylog 2 Andrea’s roomOxylog 3 Cardiac ICU gone to UHLOxylog 4 MoD loanOxylog 5 sent for repair Oxylog 6 1000 – belongs to UHL |  |
|  |  |  |  |
| **UHW Main theatre equipment**  |
| Equipment type  | Quantity  | Specifics  | Ident Number  |
| Bellmont | 2 |  |  Nr1 &2 |
| Cellsaver machines  | ?5 |  |  |
| PK pumps | 10 |  |  Nr 1-10 |
| BIS monitors | 14  |  1 in Spire  2 missing  | Nr 1-11 |
| Nerve stimulators  | 10 |  | Nr 1-10 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |