|  |  |  |  |
| --- | --- | --- | --- |
| **UHW Main theatre equipment** | | | |
| Equipment type | Quantity | Quantity specifics | Ident Number |
| Cmac reusable system | 6 | 3 – old cables  3 - new cables | Nr 1-6 |
| Cmac single use systems | 4 | 2 –new ones  2 - ex demo Storz loan | Not labeled  Ex Demo 1&2 |
| Cmac reusable Dblades | 9 | New 6  Old 2 , 1 missing  Old Mac4 x 1 |  |
| Storz FIVE Scopes | 3 |  |  |
| Olympus fibreoptic scopes | 5 | All 4.5 mm  3 x3.5 mm in UHL incl stack |  |
| Optiflow | 4 | 1 missing | Nr 1-3 |
| Ambu Scope | 2 | 1 complete  1 charging cable missing | Nr 1-3 |
| Oxford pillows | 3 |  |  |
| US machines | 6 | 1 Sonosite Xporte  3 new S2 Sonosite  2 old ones – M/turbo | Nr 1-6 |
| Lidco | 8 | Lidco Nr 1 in Spire | Nr 1-8 |
| Doppler | 4 | Doppler Nr 3 in Spire | Nr 1-4 |
| Transport monitors &C02 | 5 | Nr 1-2 on Merit trolley  Nr 3 in Andrea’s room  Nr 4 missing – SSSU used  Nr 5 A&E loan | Nr1-5 |
| Oxylog | 6 | Oxylog 1 Merit  Oxylog 2 Andrea’s room  Oxylog 3 Cardiac ICU gone to UHL  Oxylog 4 MoD loan  Oxylog 5 sent for repair  Oxylog 6 1000 – belongs to UHL |  |
|  |  |  |  |
| **UHW Main theatre equipment** | | | |
| Equipment type | Quantity | Specifics | Ident Number |
| Bellmont | 2 |  | Nr1 &2 |
| Cellsaver machines | ?5 |  |  |
| PK pumps | 10 |  | Nr 1-10 |
| BIS monitors | 14 | 1 in Spire  2 missing | Nr 1-11 |
| Nerve stimulators | 10 |  | Nr 1-10 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |